# PLANNED UNIT DEVELOPMENT

& SUBDIVISION STAFF REPORT	 Date: August 21, 2008

#### Renwick Burroughs Subdivision

#### Renwick Burroughs Subdivision

- 2700 and 2702 Springhill Avenue

(Northwest corner of Springhill Avenue and Mobile Street)

## CITY COUNCIL

DISTRICT	Council District 1

PRESENT

ZONING DISTRICT	B-3, Community Business District

- 1 lot / 0.9± acres

- Planned Unit Development Approval to allow two buildings on a single building site, and Subdivision Approval to combine three legal lots of record and a vacated alley into one lot.

- None Given

ENGINEERING

COMMENTS			Must comply with all storm water and flood control ordinances.  Must provide detention for any impervious area added since 1984 in excess of 4,000 square feet.  Any work performed in the right of way will require a right of way permit.  Need to verify that there is sufficient capacity for the receiving drainage system(s) to accept drainage from this property

- Driveway number, size, location, and design to be approved by Traffic Engineering and conform to AASHTO standards.  Final approval for all driveways, proposed and existing will be given upon submittal of final plans.  No dimensions were given for the driveways or the circulation aisle from the fast food restaurant.  Inspection at the site revealed that the driveways and aisle from Springhill Avenue are one-way drives.  These drives should be signed and marked as one-way.  If the site is redeveloped all the internal circulation and driveways should be redesigned and brought up to current city standards.

# URBAN FORESTRY

COMMENTS	Property to be developed in compliance with state and local laws that pertain to tree preservation and protection on both city and private properties (State Act 61-929 and City Code Chapters 57 and 64).

FIRE DEPARTMENT

COMMENTS			All projects must comply with the requirements of the 2003 International Fire Code, including Appendices B through D, as adopted by the City of Mobile, and the 2003 International Existing Building Code, as appropriate.

- The applicant is seeking Planned Unit Development Approval to allow two buildings on a single building site, and Subdivision Approval to combine three legal lots of record and a vacated alley into one lot.  The site is located in Council District 1, and according to the applicant is served by public water and sanitary sewer facilities.

The site fronts Springhill Avenue to the South, a major street with sufficient right-of-way.  To the East, the site fronts Mobile Street, a major street with 50’ of right-of-way.  The Major Street Plan requires major streets to have a minimum 100’ right-of-way; thus, the plat should be revised to provide a minimum 50’ from the centerline of Mobile Street.

The site has approximately 234’ of frontage along Mobile Street and 61’ of frontage along Springhill Avenue.  As illustrated on the plat/site plan, there are two existing curb cuts to Springhill Avenue, and one existing curb cut to Mobile Street.  As a means of access management, a note should placed on the final plat stating that the site is limited to the existing curb cuts to Springhill Avenue and Mobile Street.

The plat meets the minimum size requirement for developments with access to public water and sewer.  However, it is requested that the applicant revise the preliminary plat to label the lot with its size in square feet (in addition to acreage), or provide a table on the plat with the same information.

There appears to be a discrepancy within the legal description, specifically the point of commencement and a measurement along the Northern boundary of the site.  This should be addressed prior to signing the final plat.

The geographic area defined by the city of Mobile and its planning jurisdiction, including this site, may contain Federally-listed threatened or endangered species as well as protected non-game species.  Development of the site must be undertaken in compliance with all local, state and Federal regulations regarding endangered, threatened or otherwise protected species.

Planned Unit Development review examines the site with regard to its location to ensure that it is generally compatible with neighboring uses; that adequate access is provided without generating excess traffic along minor residential streets in residential districts outside the PUD; and that natural features of the site are taken into consideration.  PUD review also examines the design of the development to provide for adequate circulation within the development; to ensure adequate access for emergency vehicles; and to consider and provide for protection from adverse effects of adjacent properties as well as provide protection of adjacent properties from adverse effects from the PUD.

Before staff can perform an adequate review of this site, important issues need to be addressed.  First, after dedication for Mobile Street, the site plan will be greatly affected, as some landscaping, trees, parking, and portions of existing structures will be placed in the right-of-way.  Second, a letter submitted with the application states the uses of the existing buildings (night club and fast food); however, no information is provided regarding the square footages.  Without these measurements, staff is unable to determine the required amount of parking.

Other issues relating to this proposal include:

- there is no indication on the site plan as to the proposed location of any dumpster or other waste storage facility.  The location of the storage area for the dumpster must be illustrated on the site plan and labeled, appropriately located and screened to comply with Section 64-4.D.9. of the Zoning Ordinance, as well as with all other applicable regulations.  If no dumpster is to be provided, a note should be placed on the site plan stating such.  The dumpster pad illustrated on the site plan is not on the applicant’s property, and thus, may not be counted toward compliance;

- provision of buffering for residentially zoned properties adjacent to the site, including shielding and directing lighting of parking facilities away from those residentially zoned properties; and

- as mentioned by Traffic Engineering, no dimensions were given for the driveways or the circulation aisle from the fast food restaurant.  Inspection at the site revealed that the driveways and aisle from Springhill Avenue are one-way drives.  These drives should be signed and marked as one-way.  If the site is redeveloped all the internal circulation and driveways should be redesigned and brought up to current city standards.

RECOMMENDATION

Subdivision:	Based upon the preceding, it is recommended that this application be held over to allow the applicant to address the following:

- dedication of sufficient right-of-way to provide a minimum 50’ from the centerline of Mobile Street;

- placement of a note on the final plat stating that the subdivision is limited to the existing curb cuts to Mobile Street and Springhill Avenue;

- labeling of the lot with its size in square feet (in addition to acreage), or the provision a table on the plat with the same information;

- provision of a buffer in accordance with section V.A.7 where the site abuts residentially zoned property;

- revision of the legal description, specifically the point of commencement and a measurement along the Northern boundary of the site;

- placement of a note on the plat stating that the site must be developed in compliance with all local, state and Federal regulations regarding endangered, threatened or otherwise protected species; and

- subject to Engineering comments:  (Must comply with all storm water and flood control ordinances.  Must provide detention for any impervious area added since 1984 in excess of 4,000 square feet.  Any work performed in the right of way will require a right of way permit.  Need to verify that there is sufficient capacity for the receiving drainage system(s) to accept drainage from this property).

Planned Unit Development:	Based upon the preceding, it is recommended that this application be held over until the September 18th meeting to allow the applicant to address the following:

- dedication of sufficient right-of-way to provide a minimum 50’ from the centerline of Mobile Street;

- revision of the site plan to illustrate square footages of all existing and proposed buildings;

- provision of a dumpster, in compliance with Section 64-4.D.9. of the Zoning Ordinance;

- provision of buffering for residentially zoned properties adjacent to the site, including shielding and directing lighting of parking facilities away from those residentially zoned properties;

- placement of appropriate signage at the Springhill Avenue curb cuts indicating that they are one-way in and one-way out;

- placement of a note on the site plan stating that if the site is redeveloped, all the internal circulation and driveways will be redesigned and brought up to current city standards;

- placement of a note on the site plan stating that the site will be developed in compliance with all local, state and Federal regulations regarding endangered, threatened or otherwise protected species;

- subject to Engineering comments:  (Must comply with all storm water and flood control ordinances.  Must provide detention for any impervious area added since 1984 in excess of 4,000 square feet.  Any work performed in the right of way will require a right of way permit.  Need to verify that there is sufficient capacity for the receiving drainage system(s) to accept drainage from this property); and

- provision of a revised Planned Unit Development site plan to the Planning Section of Urban Development by no later than September 4th.